# Evaluating the Efficacy of Bone Collagen Isolation Using Stable Isotope Analysis and Infrared Spectroscopy

Robin B. Trayler

Pedro Valencia Landa

Sora L. Kim

# Rationale

This introduction must convey the significance of the research and consist of 2–3 sentences (approximately 50 words) describing the importance of the study to a broad, non-expert audience. Authors may consider the following questions in the composition of their rationale: What is the problem? Why is the research important?What significance does it have to the immediate scientific community or to society as a whole?

# Methods

A succinct description of the specialized processes, techniques and mass spectrometry instrumentation used in the study (maximum of 75 words). For example, the ionization technique and the type of mass spectrometer used will be of particular importance to other mass spectrometrists.

# Results

Up to 75 words describing the outcome of the study. This should include the most importantexperimental findings. For example, for a classical analytical assay figures of merit and validation data should be summarized. A structural elucidation study may list important new compounds, proposed dissociation mechanisms and associated data such as accurate mass measurements and measurement uncertainties. For proteomics and metabolomics it is important to give the number of significant features, ion suppression effects, newly discovered biomarker molecules, etc

# Conclusions

One or two sentences (approximately 50 words) to explain the significance of the results and the conclusions drawn. The conclusions may also answer a question that was outlined in the Rationale section, and/or provide implications of the described research or examples for further applications. These conclusions should be understandable by a broad non-specialist specific audience. Example

# 1	Introduction

Analyzing collagen via stable isotope analysis is one of the most common methods for inferring ecological information from the remains of modern and fossil animals1,2. Collagen has a relatively slow turnover rate3, and analyzing its stable carbon (δ13C) and nitrogen (δ15N) isotope composition provides time-averaged insights about diet and trophic dynamic1,2,4–6. Furthermore, since collagen is relatively insoluble7 it persists in the fossil record for ~105 years, allowing the investigation of animal ecology from the late Pleistocene through the Holocene1. The amino acid composition and elemental content (~35% carbon, ~11% nitrogen) are well characterized, so it is relatively straightforward to identify and remove contaminants in collagen prior to stable isotope analysis6,8–11. However, analysis of bone collagen is complicated, as bone is a composite material with both mineral and organic (collagen) phases. In particular while only the organic (collagen) contains significant nitrogen contents, both the mineral and organic phases contain carbon. Bulk bone contains about 9% collagen-bound carbon and 1% carbonate-bound carbon. Furthermore, in mammals, since the diet-tissue stable isotope enrichment factors for carbonate-bound (~ +14‰) and collagen-bound (~ +5‰) carbon are significantly different12,13, stable isotope analysis of bulk bone will lead to δ13C values that reflect a weighted average of both components.

Bone collagen is usually isolated via acid digestion of the mineral fraction, using either hydrochloric acid (HCl) or Ethylenediaminetetraacetic acid (EDTA)6,10,14. However there is considerable variation in published demineralization methods. Some studies recommend higher acid concentrations but shorter reaction times6,15, while others use lower acid concentrations and long reaction times16, or forgo mineral removal all tougher17–20,20. In this study, we do not attempt to resolve the optimal conditions (e.g., time, temperature, acid concentration, etc.) for all collagen extraction methods. Instead we focus on developing a framework for assessing the efficacy of a given mineral removal method, with set experimental conditions. We held acid concentration, temperature, and particle size in our experiments constant and varied the acid-reaction time from 5 minutes to 24 hours(Figure 1]. We used this framework to test the rate of mineral removal in three materials collected from modern animals; white tailed deer bone (Odocoileus virginianus), goat dentine (Capra hircus), and blue shark dentine (Prionace glauca). We assessed our methods using three metrics 1) Collagen yield and C:Natomic ratio to determine collagen quality 2) stability of stable isotope compositions, and 3) Fourier Transform Infrared Spectroscopy to directly quantify the ratio of organic to inorganic material. Our results show that for a given method, the timing of mineral removal can be quantified using standard techniques available at many major research universities, and our testing methods can be used as a framework to evaluate the plethora of collagen extraction techniques in use today.

Figure 1: Diagram of methods.

# 2	Background

## 2.1	Elemental Composition of Bone

Bone and dentine are composite materials, with both mineral and organic components. Both phases are commonly analyzed for their stable isotope composition (d2H, δ13C, δ15N, δ18O) to infer diet, trophic position, and geographic provenance. Bioapatite appears to exchange hydrogen with or absorb ambient moisture on timescales of minutes, making it of limited use for d2H analyses21, while the d2H values of collagen are used to infer trophic dynamics and geographic provenance22. Both collagen and bioapatite are routinely analyzed for their oxygen isotope compositions (δ18O)23–25. Essentially all nitrogen in bone is contained in the organic phase, and some studies have analyzed dentine for δ15N values without mineral removal26. Most pertinent to this study, both the mineral and the organic components contain carbon sources, which must be isolated prior to analysis. The mineral phase is primarily bioapatite [Ca5(PO4)3OH] with carbonate (CO3) substitutions in the hydroxyl (type-A CO3) and phosphate (type-B CO3) crystallographic sites27–29. Bioapatite carbonate contents vary considerably, with reported values ranging from 3 to 13%29. Since carbonate is empirically 20% carbon, assuming an average carbonate content of about 5%30,31 means that bone contains about 1% carbonate-bound carbon, by mass (20% × 5%). Modern dry bone and dentine are 12 to 33% collagen by weight6,29,32. Collagen carbon contents can vary significantly based on preservation, but well preserved samples are usually 35±8% carbon32. Therefore, an average bone is about 9% (25% × 35%) collagen-bound-carbon by weight.

Since the carbon isotope diet-to-tissue enrichment factors (ε) differ for mineral and organic phases, bulk stable isotope analysis of bone without isolating either component will result in δ13C values that represent a mixture of the two components. For example, bioapatite-carbonate in large mammalian herbivores is enriched relative to diet by 11-14‰ depending on body size and gut physiology12, while collagen is enriched by about 5‰13. Given the the average carbon contents of each phase (discussed above), bulk analysis of bone is expected to be enriched by 6‰ relative to diet diet+14‰×0.01+diet+5‰×0.090.01+0.09≈diet+6‰. Alternatively, bulk bone analyses δ13C values are expected to be enriched but 1‰ relative to purified collagen.

## 2.2	Collagen Extraction

Isolating bone collagen prior to stable isotope analysis is accomplished via reaction with either HCl or Ethylenediaminetetraacetic acid6,10,14. EDTA demineralization is usually recommended for archaeological or paleontological specimens where collagen may be poorly preserved. HCl is a potent protein hydrolyzing agent33 and it can induce amino-acid loss in poorly preserved specimens which may alter stable isotope compositions15. However, EDTA demineralization is often slow and can take weeks to months to fully remove bone mineral, and in well preserved specimens, HCl may be preferred due to its rapid reaction speed.

HCl protonates the carbonate and phosphate groups of bioapatite, to form carbonic and phosphoric acid34 which can then be decanted, leaving behind the residual collagen. This is sometimes followed by rising with sodium hydroxide (NaOH) to remove lipid and humid contaminants6,14,15,35. The rate of mineral dissolution is strongly dependent on the acid concentration, temperature, reaction time, and particle size34, and changes to one of these variables will should lead to more or less mineral removal. However there is considerable variation in published methods for collagen extraction. While some studies suggest rapid removal of mineral using higher acid concentrations15, others use lower HCl concentrations, in particular when archaeological or fossil specimens are thought to be poorly preserved10,16,36. Particle size also varies considerably across methods, and furthermore, can strongly influence the rate of demineralization34. While some authors suggest using bone “chunks”, others use methods suggest first grinding samples into small pieces or fine powders see review of:16. While collagen extraction methods vary significantly across published studies, inter-laboratory comparisons show that different methods produce comparable stable isotope compositions (δ13C, δ15N)37 and therefore, method development should focus on producing collagen of satisfactory quality.

The primary criteria used to assess collagen quality in modern and ancient specimens are collagen yield, collagen carbon and nitrogen content, and the atomic ratio of carbon to nitrogen content (C:Natomic). These criteria are based on the conservative amino acid composition of collagen which varies little across a wide variety of taxa8. Low collagen yield may indicate poor preservation and altered isotopic compositions. Collagen content in fresh bone should be about 34.8±8.8%, although these contents may be lower in dentine or degraded bone. Lower collagen yields may indicate alteration due to degradation and preferential loss of amino acids32.6 initially suggested that samples that yield less that 3.5% were suspect, though later work has lowered this threshold to 1% yield32. Similarly, total collagen carbon and nitrogen contents can indicate alteration, with proposed minimum contents of 13% and 4.5% for carbon and nitrogen respectively38.

The primary sources of contamination in modern and fossil collagen are endogenous lipids, humic acids, and non-collagenous proteins39. Both humic acids and lipids are carbon rich but nitrogen poor and lead to higher C:Natomic values. Furthermore, since lipids are relative 13C depleted, they can significantly change δ13C values if not properly removed40. This is especially true for fish and marine mammals which can have very high bone lipid contents.41 proposed a C:Natomic range of 2.9–3.6 as indicative of well preserved collagen, although this range has been suggested to be somewhat too liberal, where samples with carbon-bearing lipid or humid compounds may still have C:Natomic values that fall within the “acceptable” range. Other authors have suggested either narrower C:Natomic or taxon specific (e.g., fish, mammals) ranges.32 suggests a range of 3.1–3.5 based on long term data collection in the Oxford radiocarbon facility. Guiry and Szpak39 suggested adjusting the upper limit of the DeNiro41 range (2.9–3.6) for fossil collagen from various taxa, depending on preservation characteristics, likelihood of contamination, and research tolerance for altered isotopic compositions. The same authors also suggested a C:Natomic range of 3.00–3.30 for modern fish, mammals, and birds38.

## 2.3	Fast Fourier Infrared Spectroscopy

Fast Fourier Infrared Spectroscopy (FTIR) irradiates a sample with a beam of infrared light. Infrared photons excite molecules into a higher energy state, and as a result, some wavelengths are absorbed while others are transmitted through the material. Since the molecular structure of a material determines which wavelengths are absorbed or transmitted, FTIR can be use to semi-quantitatively, determine the chemical composition of a material ad assign different absorbance bands to specific chemical functional groups42.

Table 1: Nominal FTIR band positions of several relevant chemical groups. Actually band positions may be shifted by several cm-1.

| band position (cm-1) | Chemical Group | Reference |
| --- | --- | --- |
| 1630 | Amide I (CO–NH) | 43 |
| 1551 | Amide II (CO–NH) | 43 |
| 1545 | A-Type Carbonate (CO3) | 44;45 |
| 1415 | B-Type Carbonate (CO3) | 44;45 |
| 1231 | Amide III (CO–NH) | 43 |
| 1020 | Phosphate (ν3PO4) |  |
| 880 | Carbonate (CO3) |  |
| 545 | Phosphate (ν2PO4) |  |

There has been considerable work using FTIR to investigate crystallographic and chemical changes to bioapatite and collagen during diagenesis and fossilization46–50. As a result, the absorbance band position oof the major chemical functional groups of both materials is well understood (Table 1). In particular, it is possible to distinguish the functional groups associated with the organic and inorganic components of bone. Carbonate (CO3), phosphate (PO4), and organic amide groups produce distinct absorbance bands and the relative size of these bands is proportional to concentration46,51, meaning that FTIR can be used to track changes in mineral/ collagen abundance and alteration (see review of:52).

Table 2: Commonly used FTIR indices. B indicates the absorbance band height at the specified wavenumber, while V indicates the depth of the “valley”. Since the maximum height of a particular absorbance band may not occur at exactly the reported wavenumber, we instead calculated the indices above using the local maxima or minima within ±15 cm-1. *Index used in this study.

| Index | Formula | Reference |
| --- | --- | --- |
| PCI | B605+B565V590 | 48 |
| BPI | B1415B605 | 44 |
| API | B1545B605 | 48 |
| WAMPI* | B1650B545 | 47 |
| amide IPO4 | B1650B1020 | 51 |

Several indices have been proposed to assess the quality and preservation of the collagen and bioapatite components of bone (Table 2). However, many of these rely on regions where there is considerable overlap among the band derived from organic and inorganic functional groups. As a result, some indices cannot be reliably calculated for both unaltered bone and and fully demineralized collagen, limiting their usefulness in our case. For example, quantifying carbonate content or loss is complicated by the overlap among carbonate, phosphate, and amide bands. The A-carbonate-on-phosphate and B-carbonate-on-phosphate indices, are commonly used to infer carbonate content in bone and tooth enamel30,46–48. However, calculating these indices require reliable measures of the and the A-CO3 and B-CO3 absorbance bands at 1545 cm-1 and 1415 cm-1, respectively. However, the A-CO3 and B-CO3 bands partially overlap the organic amide II and amide III bands. Taken together, this means it is difficult to quantify CO3 and PO4 loss using these absorbance bands.

Instead of directly measuring carbonate loss, we instead focus quantifying the reduction of phosphate relative to organic content as a proxy for mineral removal. Since most carbonate is bound in the PO4 crystallography site, and CO3 content affects bioapatite solubility28,53, phosphate removal should directly track carbonate loss.51 used the ratio of the amide I and ν3PO4 absorbance bands B1650B1020 to track the carbon and nitrogen content of archaeological bone samples. The ν3PO4 band is poorly resolved in demineralized collagen and the 1020 cm-1 region and is instead a broad slope, on the “shoulder” of the amide III region (see: Figure 1).47 proposed a similar index the Water-Amide-on-Phosphate-Index (WAMPI) as the ratio of the Amide I and ν2PO4 absorbance bands B1650B605 to track organic loss fossil bone. We use the WAMPI as our proxy for ratio of the organic and inorganic components of bone, where higher WAMPI values should correspond to mineral removal.

# 3	Materials and Methods

## 3.1	Sample Collection

We selected three materials for analysis; dentine from a modern domestic goat (Capra hircus), bone from a white tailed deer (Odocoileus virginianus), and dentine from a blue shark (Prionace glauca). The goat and deer specimens were fortuitously collected and the shark teeth were collected as part of a previous study54. We cleaned each sample of surficial contamination using a toothbrush and deionized water before grinding into a fine powder using either an agate mortar and pestle or SPEX 8000M Mixer Mill. Since blue shark teeth are quite small, we homogenized several teeth from the same individual to obtain enough material for our experiments. The resulting powders for all specimens were further homogenized via repeated stirring using a vortexer to minimize effects from isotopic zoning in mammal teeth55,56 and variations among multiple teeth from individual sharks57.

## 3.2	Demineralization

We tested the efficacy of mineral removal in 5 minute increments from 5 to 60 minutes, and 10 minute increments from 70 to 120 minutes. Finally we also tested 18 and 24 hours time steps. All experiments were performed in triplicate. For each time step we weighed 2.5 - 4 mg of powdered bone or dentine into 1.7 mL micro-centrifuge tubes and added 1 mL of cold (4°C) 0.1M hydrochloric acid. Sample were briefly stirred using a vortexer and then placed in a 4°C refrigerator (Figure 1). Five minutes before the specified amount of time for each aliquot the samples were removed from the refrigerator and centrifuged at 10,000 RPM for five minutes, and promptly rinsed 5 times with deionized water. For example, the 60-minute time step samples spent 55 minutes in the refrigerator and 5 minutes in the centrifuge for a total of 60 minutes in acid. After rising the samples were frozen and lyophilized prior to FTIR and stable isotope analysis.

## 3.3	FTIR

We collected ATR-FTIR spectra using a Bruker Vertex 70 Far-Infrared FTIR housed in the Nuclear Magnetic Resonance Facility at the University of California, Merced. Spectra were collected from 400 - 2000 cm-1 for 32 scans at a resolution of 4 cm-1. We subtracted the background of each of each spectrum by fitting a smoothed spline to several baseline points (points expected to have an FTIR absorbance of 0) and smoothed each spectra slightly42. We then calculated the WAMPI for each spectrum by dividing the height of the amide I band at 1630 cm-1 by the height of the ν2PO4 band at 535 cm-1. Since the band positions are approximate, we located the local maxima for each band with a window of ±15 cm-1. All corrections and calculations were performed using a custom R scripts58, available in the supplementary material.

## 3.4	Stable Isotope Analysis

The δ13C and δ15N values and elemental carbon and nitrogen contents of all samples were measured using a Costech 4010 Elemental Analyzer coupled with a Delta V+ Isotope Ratio Mass Spectrometer housed in the Stable Isotope Ecosystem Laboratory at the University of California, Merced (SIELO). Carbon and nitrogen isotope compositions were corrected for instrument drift, mass linearity, and standardized to the international VPDB and AIR scales using the USGS 40 and USGS 41a standard reference materials. The average reproducibility for these reference materials was ±0.12‰ for δ13C and ±0.15‰ for δ15N. We also analyzed several aliquots of a homogenized squid tissue as an in house reference which returned δ13C and δ15N values of -18.8±0.1‰ and 11.8±0.2‰, respectively, which are indistinguishable from the long-term SIELO average.

# 4	Results and Discussion

All data (FTIR spectra, elemental content, and stable isotope compositions) are available in the supplemental material and at github.com/robintrayler/collagen_demineralization.

Figure 2: Fractional weight remaining (A-C) and C/N ratios (D-F) for all samples. The dashed lines in panels D-F indicates proposed acceptable ranges for well preserved collagen. Long dashes (black): is the 2.9–3.6 range of DeNiro41 and Ambrose6. Paired dashes (medium grey) is the more conservative range of 3.00–3.30 of Guiry and Szpak38. short dashes (light grey) is 3.1–3.5 acceptable range of32.

## 4.1	Collagen Yield and Quality

The fractional weight remaining and C:Natomic for all samples are shown in Figure 2. In general, all samples showed a rapid reduction in fractional weight after 5 minutes of acid treatment, followed by a prolonged period of weight loss until the fractional weight stabilized. We interpret the weight of time-steps making up this plateau as indicative of the final collagen yield. Capra dentine sample weights stabilized after only 5 minutes for an average yield of 9.5±1.1%. The Odocoileus bone sample weights took longer to stabilize, with a plateau after about 20 minutes, for a final yield of 18.6±2.6%. Finally, while the Prionace sample weights appear to plateau after about 30 minutes, the 18 and 24 hour time steps show a further reduction in sample weight suggesting that full mineral removal took between 2 and 18 hours, in this case.

In all cases, untreated samples (time 0) had C:Natomic higher than 3.6 indicating the contribution of carbonate-bound carbon. Most acid treated samples had C:N~atomic within the broadest acceptable range for well preserved collagen (2.9–3.6)6,32 although not all samples fell within the more conservative ranges proposed by Guiry and Szpak38 and Van Klinken et al.32. In particular the C:Natomic values for our Odocoileus and Prionace samples were systematically higher than the 3.30 Guiry and Szpak38. Given that we did not attempt to remove lipids from our collagen samples prior to analysis, we attribute these slightly higher C:Natomic values to lipid inclusion.

## 4.2	FTIR Spectroscopy

Infrared spectra for all samples are shown in Figure 3. Untreated samples (0 minutes) show the expected spectra for collagen-bioapatite mixtures, with prominent absorbance bands for mineral (CO3: 880, 1415, 1545 cm-1; PO4: 565 1020 cm-1) and organic (amide I; 1630 cm-1) phases. As acid treatment time increased, the absorbance bands associated with structural phosphate and carbonate became less prominent, while the bands associated with organic content became more pronounced.

Figure 3: FTIR spectra for Capra, Odocoileus, and Prionace bioapatite and collagen.

The 18 and 24 hour treatment groups returned the expected spectrum for pure collagen, and the mean WAMPI for these samples across all materials is 6.7±1.5 (±2σ; absorbance/absorbance) which we use as the acceptable range for complete mineral removal (see shaded area on Figure 4 panel G-I). With the exception of untreated dentine, nearly all of our Capra samples fell within the acceptable range for full mineral removal. Curiously the 110 and 120 minute time steps did not. However the FTIR spectra for these samples (Figure 3) do not show any residual CO3 or PO4 derived absorbance bands. Odocoileus WAMPI values do not overlap the acceptable range until 20 minutes of acidification, which corresponds well with our observation that the sample fractional weight reached a plateau at this time (Figure 2). None of the 0 minute to 2 hour Prionace samples had WAMPI values within the acceptable range, suggesting that full mineral removal took between 2 and 18 hours. Again, this agrees with our fractional weight observations where Prionace samples show a prolonged, gradual reduction in sample weight over the entire period of observation.

Figure 4: Stable isotope data (A-C: δ13C values; D-F: δ15N values) and FTIR index (G-I: WAMPI) for all samples. Colored points with error bars are the mean ±2 standard deviations for each time step. In many cases the error bars are smaller than the symbol. The dashed grey lines on panels A - F indicate long-term ±2σ analytical reproducibility, centered on the data. The shaded grey band on panels G - H indicates the mean±2σ of WAMPI values for 18 and 24 hours samples, which we interpret as the WAMPI range for fully demineralized collagen.

## 4.3	Stable Isotopes

### 4.3.1	Carbon Isotopes

Both Capra and Odocoileus carbon isotope compositions shifted lower after 5 minutes of acid treatment, suggesting a rapid removal of structural carbonate. After 5 minutes δ13C values for these two materials show small variations in isotopic composition although within analytical uncertainty. Prionace samples δ13C values show very little change from 0 minutes to 2 hours, but the 18 and 24 hour time steps have lower δ13C values relative to the shorter time steps. Furthermore, this shift is larger than the analytical uncertainty envelope, suggesting material changes to isotope compositions in the 18 and 24 hour samples. Curiously, the untreated Prionace samples do not show carbon isotope enrichment associated with carbonate-bound present in both the Capra and Odocoileus samples, suggesting either lower carbonate contents or a smaller enrichment between CO3 and collagen.

### 4.3.2	Nitrogen Isotopes

While δ15N values from each material show small changes across time steps, none of the variation was larger than the analytical reproducibility envelope (Figure 4 D-E). I need to flesh this out more

## 4.4	Carbonate Removal

Several studies have suggested that acid treatment of mineralized tissues is unwarranted as it may influence δ13C and δ15N values, and the influence of carbonate bound carbon is small18–20,20. However, these studies have mostly focused on marine invertebrates with only18 investigating the influence of mineral removal in vertebrate bone, from marine turtles. At least for mammals, our results clearly contradict this recommendation and show that removing carbonate bound carbon has significant, measurable effects on δ13C values, and little to no effect on δ15N values, for our test materials. For reference, the Capra and Odocoileus samples show a 0.5 to 1‰ reduction in δ13C after carbonate removal, in line with our predictions (see: Section 2.1). Small changed in carbon isotope composition will affect paleoenviromental and paleodietary interpretations. For example, a 1‰ shift in δ13C could have a large impact on dietary modelinge.g., 59 and paleoprecipitation calculations60. Since bone carbonate contents can vary significantly, we feel the most straightforward method of accounting for the different isotopic fractionations among diet, carbonate, and collagen is to simply remove the carbonate-bearing mineral fraction.

The need for mineral removal in our shark teeth is less clear. There is no obvious influence of carbonate-bound carbon of δ13C values from 0 minutes to 2 hours in our experiments, while the 18 and 24 hour time steps have slightly lower and more variable δ13C values. In contrast to mammals, shark bioapatite is primarily fluorapatite [Ca5(PO4)F] and has overall lower CO3 contents, and the diet-tissue carbon isotope enrichment factor for shark bioapatite are poorly understood and may even vary61. This suggests that there may not be a large carbon isotope fractionation between carbonate and collagen, at least in the case of our specific Prionace sample. Fluroapatite is also less soluble that hydroxyapatite62. Since the our measured WAMPI values for Prionace teeth suggest that full mineral removal took between 2 and 18 hours, so an alternative explanation for the observed trend in δ13C values is that carbonate-bound carbon was not completely removed until after 2 hours of reaction time.

## 4.5	Evaluating Demineralization Methods

# 5	Conclusions

# 6	Supplementary Information

All infrared spectra, stable isotope data, analysis code, and a draft version of this manuscript are available on at github.com/robintrayler/collagen_demineralization

# 7	Acknowledgments

We thank Maya Morris for her help with time step experiments and Dr. David Rice for his assisting with FTIR data collection. We also thank Gina Palefsky for providing the Odocoileus bone and Matthew J. Kohn for providing the Capra tooth.

# References

1. 	Clementz MT. New insight from old bones: Stable isotope analysis of fossil mammals. Journal of Mammalogy. 2012;93(2):368-380.

2. 	Koch PL, Fogel ML, Tuross N. Tracing the diets of fossil animals using stable isotopes. Stable Isotopes in Ecology and Environmental Science. Published online 1994:63-92.

3. 	Hedges REM, Clement JG, Thomas CDL, O’connell TC. Collagen turnover in the adult femoral mid-shaft: Modeled from anthropogenic radiocarbon tracer measurements. American Journal of Physical Anthropology. 2007;133(2):808-816.

4. 	DeNiro MJ, Epstein S. Influence of diet on the distribution of carbon isotopes in animals. Geochimica et Cosmochimica Acta. 1978;42(5):495-506.

5. 	DeNiro MJ, Epstein S. Influence of Diet on the Distribution of Nitrogen Isotopes in Animals. Geochimica et Cosmochimica Acta. 1981;45(3):341-351.

6. 	Ambrose SH. Preparation And Characterization Of Bone And Tooth Collagen For Isotopic Analysis. Journal of Archaeological Science. 1990;17(43):145.

7. 	Schwarcz HP, Schoeninger MJ. Stable isotope analyses in human nutritional ecology. American Journal of Physical Anthropology. 1991;34(S13):283-321.

8. 	Szpak P. Fish bone chemistry and ultrastructure: Implications for taphonomy and stable isotope analysis. Journal of Archaeological Science. 2011;38(12):3358-3372.

9. 	Tuross N. Alterations in fossil collagen. Archaeometry. 2002;44(3):427-434.

10. 	Tuross N, Fogel ML, Hare P. Variability in the preservation of the isotopic composition of collagen from fossil bone. Geochimica et Cosmochimica Acta. 1988;52(4):929-935.

11. 	Fuller BT, Harris JM, Farrell AB, Takeuchi G, Southon JR. Sample preparation for radiocarbon dating and isotopic analysis of bone from Rancho La Brea. La Brea and beyond: The paleontology of asphalt-preserved biotas, ed JM Harris Natural History Museum of Los Angeles County, Science Series. 2015;(42):151-167.

12. 	Passey BH, Robinson TF, Ayliffe LK, et al. Carbon isotope fractionation between diet, breath CO2, and bioapatite in different mammals. Journal of Archaeological Science. 2005;32(10):1459-1470.

13. 	Ambrose SH, Norr L. Experimental evidence for the relationship of the carbon isotope ratios of whole diet and dietary protein to those of bone collagen and carbonate. In: Prehistoric Human Bone. Springer; 1993:1-37.

14. 	Longin R. New method of collagen extraction for radiocarbon dating. Nature. 1971;230(5291):241-242.

15. 	Pestle WJ. Chemical, elemental, and isotopic effects of acid concentration and treatment duration on ancient bone collagen: An exploratory study. Journal of Archaeological Science. 2010;37(12):3124-3128.

16. 	Sealy J, Johnson M, Richards M, Nehlich O. Comparison of two methods of extracting bone collagen for stable carbon and nitrogen isotope analysis: Comparing whole bone demineralization with gelatinization and ultrafiltration. Journal of Archaeological Science. 2014;47:64-69.

17. 	Brault EK, Koch PL, Gier E, et al. Effects of decalcification on bulk and compound-specific nitrogen and carbon isotope analyses of dentin. Rapid Communications in Mass Spectrometry. 2014;28(24):2744-2752.

18. 	Turner Tomaszewicz CN, Seminoff JA, Ramirez MD, Kurle CM. Effects of demineralization on the stable isotope analysis of bone samples. Rapid Communications in Mass Spectrometry. 2015;29(20):1879-1888.

19. 	Jacob U, Mintenbeck K, Brey T, Knust R, Beyer K. Stable isotope food web studies: A case for standardized sample treatment. Marine Ecology Progress Series. 2005;287:251-253.

20. 	Mateo MA, Serrano O, Serrano L, Michener RH. Effects of sample preparation on stable isotope ratios of carbon and nitrogen in marine invertebrates: Implications for food web studies using stable isotopes. Oecologia. 2008;157(1):105-115.

21. 	Drewicz AE, Trayler RB, Hollaway M, Harrigan CO, Kohn MJ. The interpretability of stable hydrogen isotopes in modern herbivore tooth enamel. Geochimica et Cosmochimica Acta. 2020;270:84-94.

22. 	Reynard LM, Hedges RE. Stable hydrogen isotopes of bone collagen in palaeodietary and palaeoenvironmental reconstruction. Journal of Archaeological Science. 2008;35(7):1934-1942.

23. 	Hedges RE, Stevens RE, Richards MP. Bone as a stable isotope archive for local climatic information. Quaternary Science Reviews. 2004;23(7-8):959-965.

24. 	France CA, Owsley DW. Stable carbon and oxygen isotope spacing between bone and tooth collagen and hydroxyapatite in human archaeological remains. International Journal of Osteoarchaeology. 2015;25(3):299-312.

25. 	Kohn MJ, Cerling TE. Stable Isotope Compositions Of Biological Apatite. Reviews in Mineralogy and Geochemistry. 2002;48(1):455-488.

26. 	Guiry EJ, Hepburn JC, Richards MP. High-resolution serial sampling for nitrogen stable isotope analysis of archaeological mammal teeth. Journal of Archaeological Science. 2016;69:21-28.

27. 	Elliott JC, Holcomb DW, Young RA. Infrared Determination Of The Degree Of Substitution Of Hydroxyl By Carbonate Ions In Human Dental Enamel. Calcified tissue international. 1985;37(4):372-375.

28. 	Elliott JC. Calcium Phosphate Biominerals. Reviews in Mineralogy and Geochemistry. 2002;48(1):427-453.

29. 	Driessens FC, Verbeeck RK. Biominerals. CRC Press; 1990.

30. 	Sydney-Zax M, Mayer I, Deutsch D. Carbonate content in developing human and bovine enamel. Journal of dental research. 1991;70(5):913-916.

31. 	Zazzo A, Balasse M, Patterson WP. High-resolution δ13C intratooth profiles in bovine enamel: Implications for mineralization pattern and isotopic attenuation. Geochimica et Cosmochimica Acta. 2005;69(14):3631-3642.

32. 	Van Klinken GJ. Bone collagen quality indicators for palaeodietary and radiocarbon measurements. Journal of Archaeological Science. 1999;26(6):687-695.

33. 	Rosenberg IM. Protein Analysis and Purification: Benchtop Techniques. Springer Science & Business Media; 2013.

34. 	Hankermeyer CR, Ohashi KL, Delaney DC, Ross J, Constantz BR. Dissolution rates of carbonated hydroxyapatite in hydrochloric acid. Biomaterials. 2002;23(3):743-750.

35. 	Brown TA, Nelson DE, Vogel JS, Southon JR. Improved collagen extraction by modified Longin method. Radiocarbon. 1988;30(2):171-177.

36. 	Beaumont J, Gledhill A, Lee-Thorp J, Montgomery J. Childhood diet: A closer examination of the evidence from dental tissues using stable isotope analysis of incremental human dentine. Archaeometry. 2013;55(2):277-295.

37. 	Pestle WJ, Crowley BE, Weirauch MT. Quantifying inter-laboratory variability in stable isotope analysis of ancient skeletal remains. PLoS one. 2014;9(7):e102844.

38. 	Guiry EJ, Szpak P. Quality control for modern bone collagen stable carbon and nitrogen isotope measurements. Methods in Ecology and Evolution. 2020;11(9):1049-1060.

39. 	Guiry EJ, Szpak P. Improved quality control criteria for stable carbon and nitrogen isotope measurements of ancient bone collagen. Journal of Archaeological Science. 2021;132:105416.

40. 	Liden K, Takahashi C, Nelson DE. The effects of lipids in stable carbon isotope analysis and the effects of NaOH treatment on the composition of extracted bone collagen. Journal of archaeological science. 1995;22(2):321-326.

41. 	DeNiro MJ. Postmortem preservation and alteration of in vivo bone collagen isotope ratios in relation to palaeodietary reconstruction. Nature. 1985;317(6040):806-809.

42. 	Stuart BH. Infrared Spectroscopy: Fundamentals and Applications. John Wiley & Sons; 2004.

43. 	Botta SB, Ana PA, Santos MO, Zezell DM, Matos AB. Effect of dental tissue conditioners and matrix metalloproteinase inhibitors on type I collagen microstructure analyzed by Fourier transform infrared spectroscopy. Journal of Biomedical Materials Research Part B: Applied Biomaterials. 2012;100(4):1009-1016.

44. 	LeGeros RZ. Calcium Phosphates in Oral Biology and Medicine. In: Myers H, ed. Monographs in Oral Science. Vol 15. Karger, Basel; 1991.

45. 	Rey C, Renugopalakrishnan V, Shimizu M, Collins B, Glimcher MJ. A resolution-enhanced Fourier transform infrared spectroscopic study of the environment of the CO32- ion in the mineral phase of enamel during its formation and maturation. Calcified tissue international. 1991;49(4):259-268.

46. 	Grunenwald A, Keyser C, Sautereau AM, Crubézy E, Ludes B, Drouet C. Revisiting carbonate quantification in apatite (bio) minerals: A validated FTIR methodology. Journal of Archaeological Science. 2014;49:134-141.

47. 	Roche D, Ségalen L, Balan E, Delattre S. Preservation Assessment Of Miocene (Kenyan Rift Valley) Through FTIR, Chemical And Stable-Isotope Analyses. Journal of Archaeological Science. 2010;37(7):1690-1699. doi:10.1016/j.jas.2010.01.029

48. 	Sponheimer M, Lee-Thorp JA. Alteration of enamel carbonate environments during fossilization. Journal of Archaeological Science. 1999;26(2):143-150.

49. 	Hassan AA, Termine JD, Haynes CV. Mineralogical studies on bone apatite and their implications for radiocarbon dating. Radiocarbon. 1977;19(3):364-374.

50. 	Sønju Clasen AB, Ruyter IE. Quantitative Determination Of Type A And Type B Carbonate In Human Deciduous And Permanent Enamel By Means Of Fourier Transform Infrared Spectrometry. Advances in dental research. 1997;11(4):523-527.

51. 	Lebon M, Reiche I, Gallet X, Bellot-Gurlet L, Zazzo A. Rapid quantification of bone collagen content by ATR-FTIR spectroscopy. Radiocarbon. 2016;58(1):131-145.

52. 	Olcott Marshall A, Marshall CP. Vibrational spectroscopy of fossils. Palaeontology. 2015;58(2):201-211.

53. 	Sillen A, LeGeros R. Solubility profiles of synthetic apatites and of modern and fossil bones. Journal of Archaeological Science. 1991;18(3):385-397. doi:10.1016/0305-4403(91)90073-X

54. 	Kim SL, Casper DR, Galván-Magaña F, Ochoa-Díaz R, Hernández-Aguilar SB, Koch PL. Carbon and nitrogen discrimination factors for elasmobranch soft tissues based on a long-term controlled feeding study. Environmental Biology of Fishes. 2012;95(1):37-52.

55. 	Trayler RB, Kohn MJ. Tooth enamel maturation reequilibrates oxygen isotope compositions and supports simple sampling methods. Geochimica et Cosmochimica Acta. 2017;198:32-47. doi:10.1016/j.gca.2016.10.023

56. 	Kohn MJ, Schoeninger MJ, Valley JW. Variability in oxygen isotope compositions of herbivore teeth: Reflections of seasonality or developmental physiology? Chemical Geology. 1998;152(1):97-112.

57. 	Shipley ON, Henkes GA, Gelsleichter J, et al. Shark tooth collagen stable isotopes (δ15N and δ13C) as ecological proxies. Journal of Animal Ecology. 2021;90(9):2188-2201.

58. 	R Core Team. R: A Language and Environment for Statistical Computing. Published online 2021.

59. 	Phillips DL. Converting isotope values to diet composition: The use of mixing models. Journal of Mammalogy. 2012;93(2):342-352. doi:10.1644/11-mamm-s-158.1

60. 	Kohn MJ. Carbon Isotope Composition of Terrestrial C3 Plants as Indicators of (Paleo)Ecology and (Paleo)Climate. Proceedings of the National Academy of Sciences. 2010;107.46.

61. 	Vennemann T, Hegner E, Cliff G, Benz G. Isotopic composition of recent shark teeth as a proxy for environmental conditions. Geochimica et Cosmochimica Acta. 2001;65(10):1583-1599.

62. 	Posner AS, Blumenthal NC, Betts F. Chemistry and structure of precipitated hydroxyapatites. In: Phosphate Minerals. Springer; 1984:330-350.